## 062920 Amanda salts
Shimadzu TOC-L Analyzer
Samples analyzed: 06/29/2020 - 07/01/2020
Standard Cal Curve
NPOC
[6 empty] | Measured: | 0.50813 | 8.1446 | 16.8129 | 33.8586
[6 empty] | Actual: | 0.3 | 7 | 15 | 30
TN
[6 empty] | Measured: | 0.025694 | 1.8393 | 3.6733 | 4.5647
|  | Machine value | Machine value | Corrected | Corrected | Actual: | 0 | 2 | 4 | 5
|  | NPOC | TN | NPOC | TN | [6 empty] | Corrected | Corrected
Sample Name | Date / Time | (ppm) | (ppm) | (ppm) | (ppm) | Sample Name | Vial | Result(NPOC) | Result(TN) | Unit |  | Result(NPOC) | Result(TN)
43 | 2020-06-29 20:49 | 0.9867 | 0.1735 | 0.72283 | 0.1632 | 15 4 | 5 | 16.87 | 3.634 | ppm |  | 14.8939 | 3.9687
44 | 2020-06-29 21:10 | 0.8786 | 0.03638 | 0.62639 | 0.012407 | 15 4 | 6 | 17.03 | 3.72 | ppm |  | 15.0367 | 4.0633
45 | 2020-06-29 21:49 | 0.7201 | 0.0659 | 0.48497 | 0.04487 | 15 4 | 3 | 16.8 | 3.849 | ppm |  | 14.8315 | 4.2051
46 | 2020-06-29 22:11 | 0.5595 | 0.01929 | 0.34169 | -0.0063868 | 15 4 | 17 | 16.65 | 3.616 | ppm |  | 14.6976 | 3.9489
47 | 2020-06-29 22:36 | 1.255 | 0.026 | 0.96221 | 0.0009922 | 15 4 | 33 | 16.61 | 3.732 | ppm |  | 14.6619 | 4.0765
48 | 2020-06-29 22:56 | 0.6787 | 0.02475 | 0.44804 | -0.00038243 | 15 4 | 50 | 16.86 | 3.55 | ppm |  | 14.885 | 3.8763
49 | 2020-06-29 23:20 | 10.15 | 0.3042 | 8.8983 | 0.30693 | 15 4 | 65 | 16.87 | 3.612 | ppm |  | 14.8939 | 3.9445
50 | 2020-06-30 | 1.358 | 0.0735 | 1.0541 | 0.053228 |  | Mean: | 16.8129 | 3.6733 |  | Mean: | 14.8429 | 4.0119
51 | 2020-06-30 00:24 | 7.157 | 0.2732 | 6.228 | 0.27284 |  | SD: | 0.14361 | 0.10024 |  | SD: | 0.12813 | 0.11023
52 | 2020-06-30 02:15 | 1.129 | 0.07304 | 0.84979 | 0.052722
53 | 2020-06-30 02:40 | 42.66 | 1.928 | 37.9051 | 2.0926 | 30 5 | 7 | 34.25 | 4.602 | ppm |  | 30.4003 | 5.0332
54 | 2020-06-30 03:04 | 7.671 | 0.4231 | 6.6866 | 0.43768 | 30 5 | 8 | 34.3 | 4.701 | ppm |  | 30.445 | 5.1421
55 | 2020-06-30 03:31 | 44.78 | 2.032 | 39.7931 | 2.207 | 30 5 | 4 | 33.84 | 4.743 | ppm |  | 30.0345 | 5.1883
56 | 2020-06-30 03:56 | 3.574 | 0.2585 | 3.0312 | 0.25667 | 30 5 | 18 | 33.59 | 4.53 | ppm |  | 29.8115 | 4.954
57 | 2020-06-30 04:29 | 6.222 | 0.4072 | 5.3938 | 0.4202 | 30 5 | 34 | 33.02 | 4.509 | ppm |  | 29.3029 | 4.9309
58 | 2020-06-30 04:50 | 0.9098 | 0.03192 | 0.65422 | 0.0075024 | 30 5 | 51 | 33.46 | 4.349 | ppm |  | 29.6955 | 4.755
59 | 2020-06-30 05:05 | 6.62 | 0.4054 | 5.7489 | 0.41822 | 30 5 | 66 | 34.55 | 4.519 | ppm |  | 30.668 | 4.9419
60 | 2020-06-30 05:25 | 0.8799 | 0.05834 | 0.62755 | 0.036556 |  | Mean: | 33.8586 | 4.5647 |  | Mean: | 30.0511 | 4.9922
61 | 2020-06-30 05:57 | 232.3 | 25.38 | 207.1006 | 27.8828 |  | SD: | 0.54171 | 0.13209 |  | SD: | 0.48331 | 0.14526
62 | 2020-06-30 07:53 | 34.63 | 7.619 | 30.7394 | 8.351
63 | 2020-06-30 08:14 | 284.4 | 32.12 | 253.5842 | 35.2948 | 7 2 | 3 | 8.339 | 1.817 | ppm |  | 7.2826 | 1.9706
64 | 2020-06-30 08:55 | 48.07 | 8.04 | 42.734 | 8.814 | 7 2 | 4 | 8.233 | 1.82 | ppm |  | 7.188 | 1.9739
65 | 2020-06-30 09:26 | 42.53 | 1.868 | 37.7913 | 2.0266 | 7 2 | 10 | 8.344 | 1.9 | ppm |  | 7.287 | 2.0618
66 | 2020-06-30 09:51 | 7.643 | 0.4757 | 6.6616 | 0.49553 | 7 2 | 2 | 8.077 | 1.93 | ppm |  | 7.0488 | 2.0948
67 | 2020-06-30 10:18 | 47.02 | 1.839 | 41.7948 | 1.9947 | 7 2 | 16 | 7.851 | 1.789 | ppm |  | 6.8472 | 1.9398
68 | 2020-06-30 10:44 | 9.894 | 0.482 | 8.6699 | 0.50246 | 7 2 | 32 | 8.161 | 1.804 | ppm |  | 7.1237 | 1.9563
69 | 2020-06-30 11:25 | 6.171 | 1.156 | 5.3483 | 1.2437 | 7 2 | 48 | 8.114 | 1.845 | ppm |  | 7.0818 | 2.0013
70 | 2020-06-30 11:49 | 1.039 | 0.1984 | 0.7695 | 0.19058 | 7 2 | 64 | 8.038 | 1.809 | ppm |  | 7.014 | 1.9618
71 | 2020-06-30 12:14 | 6.181 | 1.077 | 5.3572 | 1.1568 |  | Mean: | 8.1446 | 1.8393 |  | Mean: | 7.1091 | 1.995
72 | 2020-06-30 12:38 | 1.142 | 0.2593 | 0.86139 | 0.25755 |  | SD: | 0.16419 | 0.050011 |  | SD: | 0.14649 | 0.054997
73 | 2020-06-30 14:28 | 5.905 | 0.2228 | 5.1109 | 0.21741
74 | 2020-06-30 14:49 | 1.168 | 0.02995 | 0.88459 | 0.005336 | DI | 1 | 0.7524 | 0.02152 | ppm |  | 0.51379 | -0.0039345
75 | 2020-06-30 15:12 | 6.125 | 0.2241 | 5.3072 | 0.21884 | DI | 2 | 0.4672 | 0.00513 | ppm |  | 0.25934 | -0.021959
76 | 2020-06-30 15:50 | 1.191 | 0.06047 | 0.90511 | 0.038899 | DI | 9 | 0.3844 | 0.01615 | ppm |  | 0.18546 | -0.0098398
77 | 2020-06-30 16:17 | 81.16 | 4.536 | 72.2535 | 4.9606 | DI | 1 | 0.3927 | 0.02248 | ppm |  | 0.19287 | -0.0028787
78 | 2020-06-30 16:43 | 10.01 | 0.6919 | 8.7734 | 0.73328 | DI | 7 | 0.2287 | 0.00448 | ppm |  | 0.046546 | -0.022673
79 | 2020-06-30 17:06 | 80.45 | 4.614 | 71.62 | 5.0464 | DI | 13 | 0.3665 | 0.06877 | ppm |  | 0.16949 | 0.048026
80 | 2020-06-30 17:31 | 10.83 | 0.7522 | 9.505 | 0.79959 | DI | 19 | 0.7062 | 0.08952 | ppm |  | 0.47257 | 0.070845
81 | 2020-06-30 18:11 | 140.5 | 6 | 125.1966 | 6.5706 | DI | 25 | 0.338 | 0.01251 | ppm |  | 0.14406 | -0.013843
82 | 2020-06-30 18:32 | 17.35 | 0.992 | 15.3222 | 1.0633 | DI | 31 | 0.7384 | 0.04461 | ppm |  | 0.5013 | 0.021458
83 | 2020-06-30 20:11 | 145 | 6.116 | 129.2115 | 6.6982 | DI | 37 | 0.8656 | 0.08094 | ppm |  | 0.61479 | 0.06141
84 | 2020-06-30 20:34 | 18.1 | 0.9285 | 15.9913 | 0.99347 | DI | 43 | 0.4063 | 0.01293 | ppm |  | 0.205 | -0.013381
61 | 2020-07-01 11:48 | 148.1 | 16.77 | 131.9773 | 18.4144 | DI | 49 | 0.3208 | 0.00944 | ppm |  | 0.12872 | -0.017219
63 | 2020-07-01 12:08 | 144.8 | 16.38 | 129.0331 | 17.9855 | DI | 55 | 0.3231 | 0.01144 | ppm |  | 0.13077 | -0.015019
65 | 2020-07-01 12:35 | 26.9 | 1.045 | 23.8427 | 1.1216 | DI | 61 | 0.4077 | 0.0124 | ppm |  | 0.20625 | -0.013964
67 | 2020-07-01 13:03 | 28.97 | 1.162 | 25.6895 | 1.2503 | DI | 67 | 0.3368 | 0.01903 | ppm |  | 0.14299 | -0.0066727
77 | 2020-07-01 13:21 | 28.74 | 1.568 | 25.4843 | 1.6967 | DI | 70 | 0.5108 | 0.0138 | ppm |  | 0.29824 | -0.012424
79 | 2020-07-01 14:04 | 30 | 1.757 | 26.6085 | 1.9046 | DI | 76 | 0.774 | 0.01586 | ppm |  | 0.53306 | -0.010159
83 | 2020-07-01 14:28 | 49.47 | 2.1 | 43.9768 | 2.2818 | DI | 79 | 0.8267 | 0.00148 | ppm |  | 0.58008 | -0.025972
[7 empty] | Mean: | 0.50813 | 0.025694 |  | Mean: | 0.29585 | 0.00065557
[7 empty] | SD: | 0.207 | 0.026768 |  | SD: | 0.18468 | 0.029437
Shimadzu TOC-L Analyzer
Samples analyzed: 06/29/2020 - 07/01/2020
High NPOC Cal Curve
NPOC
[6 empty] | Measured: | 0.47789 | 7.6595 | 15.8086 | 31.8429
[6 empty] | Actual: | 0.3 | 7 | 15 | 30
TN
[6 empty] | Measured: | 0.025694 | 1.8393 | 3.6733 | 4.5647
|  | Machine value | Machine value | Corrected | Corrected | Actual: | 0 | 2 | 4 | 5
|  | NPOC | TN | NPOC | TN | [6 empty] | Corrected | Corrected
Sample Name | Date / Time | (ppm) | (ppm) | (ppm) | (ppm) | Sample Name | Vial | Result(NPOC) | Result(TN) | Unit |  | Result(NPOC) | Result(TN)
43 | 2020-06-29 20:49 | 0.928 | 0.1735 | 0.72369 | 0.1632 | 15 4 | 5 | 15.86 | 3.634 | ppm |  | 14.8897 | 3.9687
44 | 2020-06-29 21:10 | 0.8263 | 0.03638 | 0.62721 | 0.012407 | 15 4 | 6 | 16.01 | 3.72 | ppm |  | 15.032 | 4.0633
45 | 2020-06-29 21:49 | 0.6772 | 0.0659 | 0.48576 | 0.04487 | 15 4 | 3 | 15.8 | 3.849 | ppm |  | 14.8328 | 4.2051
46 | 2020-06-29 22:11 | 0.5262 | 0.01929 | 0.34251 | -0.0063868 | 15 4 | 17 | 15.66 | 3.616 | ppm |  | 14.6999 | 3.9489
47 | 2020-06-29 22:36 | 1.18 | 0.026 | 0.96277 | 0.0009922 | 15 4 | 33 | 15.62 | 3.732 | ppm |  | 14.662 | 4.0765
48 | 2020-06-29 22:56 | 0.6383 | 0.02475 | 0.44886 | -0.00038243 | 15 4 | 50 | 15.85 | 3.55 | ppm |  | 14.8802 | 3.8763
49 | 2020-06-29 23:20 | 9.546 | 0.3042 | 8.8996 | 0.30693 | 15 4 | 65 | 15.86 | 3.612 | ppm |  | 14.8897 | 3.9445
50 | 2020-06-30 | 1.277 | 0.0735 | 1.0548 | 0.053228 |  | Mean: | 15.8086 | 3.6733 |  | Mean: | 14.8409 | 4.0119
51 | 2020-06-30 00:24 | 6.731 | 0.2732 | 6.229 | 0.27284 |  | SD: | 0.13247 | 0.10024 |  | SD: | 0.12567 | 0.11023
52 | 2020-06-30 02:15 | 1.062 | 0.07304 | 0.85082 | 0.052722
53 | 2020-06-30 02:40 | 40.12 | 1.928 | 37.9051 | 2.0926 | 30 5 | 7 | 32.21 | 4.602 | ppm |  | 30.4009 | 5.0332
54 | 2020-06-30 03:04 | 7.215 | 0.4231 | 6.6882 | 0.43768 | 30 5 | 8 | 32.26 | 4.701 | ppm |  | 30.4484 | 5.1421
55 | 2020-06-30 03:31 | 42.11 | 2.032 | 39.7931 | 2.207 | 30 5 | 4 | 31.83 | 4.743 | ppm |  | 30.0404 | 5.1883
56 | 2020-06-30 03:56 | 3.361 | 0.2585 | 3.0319 | 0.25667 | 30 5 | 18 | 31.59 | 4.53 | ppm |  | 29.8127 | 4.954
57 | 2020-06-30 04:29 | 5.851 | 0.4072 | 5.3941 | 0.4202 | 30 5 | 34 | 31.05 | 4.509 | ppm |  | 29.3004 | 4.9309
58 | 2020-06-30 04:50 | 0.8557 | 0.03192 | 0.6551 | 0.0075024 | 30 5 | 51 | 31.47 | 4.349 | ppm |  | 29.6989 | 4.755
59 | 2020-06-30 05:05 | 6.226 | 0.4054 | 5.7499 | 0.41822 | 30 5 | 66 | 32.49 | 4.519 | ppm |  | 30.6666 | 4.9419
60 | 2020-06-30 05:25 | 0.8275 | 0.05834 | 0.62835 | 0.036556 |  | Mean: | 31.8429 | 4.5647 |  | Mean: | 30.0526 | 4.9922
61 | 2020-06-30 05:57 | 218.5 | 25.38 | 207.1343 | 27.8828 |  | SD: | 0.50979 | 0.13209 |  | SD: | 0.48364 | 0.14526
62 | 2020-06-30 07:53 | 32.57 | 7.619 | 30.7425 | 8.351
63 | 2020-06-30 08:14 | 267.5 | 32.12 | 253.6206 | 35.2948 | 7 2 | 3 | 7.842 | 1.817 | ppm |  | 7.283 | 1.9706
64 | 2020-06-30 08:55 | 45.21 | 8.04 | 42.734 | 8.814 | 7 2 | 4 | 7.743 | 1.82 | ppm |  | 7.1891 | 1.9739
65 | 2020-06-30 09:26 | 40 | 1.868 | 37.7913 | 2.0266 | 7 2 | 10 | 7.847 | 1.9 | ppm |  | 7.2877 | 2.0618
66 | 2020-06-30 09:51 | 7.188 | 0.4757 | 6.6626 | 0.49553 | 7 2 | 2 | 7.596 | 1.93 | ppm |  | 7.0496 | 2.0948
67 | 2020-06-30 10:18 | 44.22 | 1.839 | 41.7948 | 1.9947 | 7 2 | 16 | 7.383 | 1.789 | ppm |  | 6.8476 | 1.9398
68 | 2020-06-30 10:44 | 9.305 | 0.482 | 8.671 | 0.50246 | 7 2 | 32 | 7.675 | 1.804 | ppm |  | 7.1246 | 1.9563
69 | 2020-06-30 11:25 | 5.803 | 1.156 | 5.3486 | 1.2437 | 7 2 | 48 | 7.631 | 1.845 | ppm |  | 7.0828 | 2.0013
70 | 2020-06-30 11:49 | 0.9773 | 0.1984 | 0.77046 | 0.19058 | 7 2 | 64 | 7.559 | 1.809 | ppm |  | 7.0145 | 1.9618
71 | 2020-06-30 12:14 | 5.813 | 1.077 | 5.3581 | 1.1568 |  | Mean: | 7.6595 | 1.8393 |  | Mean: | 7.1099 | 1.995
72 | 2020-06-30 12:38 | 1.074 | 0.2593 | 0.8622 | 0.25755 |  | SD: | 0.15449 | 0.050011 |  | SD: | 0.14657 | 0.054997
73 | 2020-06-30 14:28 | 5.553 | 0.2228 | 5.1114 | 0.21741
74 | 2020-06-30 14:49 | 1.098 | 0.02995 | 0.88497 | 0.005336 | DI | 1 | 0.7076 | 0.02152 | ppm |  | 0.5146 | -0.0039345
75 | 2020-06-30 15:12 | 5.761 | 0.2241 | 5.3088 | 0.21884 | DI | 2 | 0.4394 | 0.00513 | ppm |  | 0.26016 | -0.021959
76 | 2020-06-30 15:50 | 1.12 | 0.06047 | 0.90584 | 0.038899 | DI | 9 | 0.3615 | 0.01615 | ppm |  | 0.18626 | -0.0098398
77 | 2020-06-30 16:17 | 76.33 | 4.536 | 72.2576 | 4.9606 | DI | 1 | 0.3694 | 0.02248 | ppm |  | 0.19375 | -0.0028787
78 | 2020-06-30 16:43 | 9.416 | 0.6919 | 8.7763 | 0.73328 | DI | 7 | 0.2151 | 0.00448 | ppm |  | 0.047365 | -0.022673
79 | 2020-06-30 17:06 | 75.66 | 4.614 | 71.6219 | 5.0464 | DI | 13 | 0.3447 | 0.06877 | ppm |  | 0.17032 | 0.048026
80 | 2020-06-30 17:31 | 10.18 | 0.7522 | 9.5011 | 0.79959 | DI | 19 | 0.6642 | 0.08952 | ppm |  | 0.47343 | 0.070845
81 | 2020-06-30 18:11 | 132.1 | 6 | 125.1666 | 6.5706 | DI | 25 | 0.3179 | 0.01251 | ppm |  | 0.14489 | -0.013843
82 | 2020-06-30 18:32 | 16.32 | 0.992 | 15.3261 | 1.0633 | DI | 31 | 0.6945 | 0.04461 | ppm |  | 0.50217 | 0.021458
83 | 2020-06-30 20:11 | 136.4 | 6.116 | 129.246 | 6.6982 | DI | 37 | 0.814 | 0.08094 | ppm |  | 0.61554 | 0.06141
84 | 2020-06-30 20:34 | 17.02 | 0.9285 | 15.9902 | 0.99347 | DI | 43 | 0.3821 | 0.01293 | ppm |  | 0.2058 | -0.013381
61 | 2020-07-01 11:48 | 139.3 | 16.77 | 131.9972 | 18.4144 | DI | 49 | 0.3017 | 0.00944 | ppm |  | 0.12952 | -0.017219
63 | 2020-07-01 12:08 | 136.2 | 16.38 | 129.0562 | 17.9855 | DI | 55 | 0.3039 | 0.01144 | ppm |  | 0.13161 | -0.015019
65 | 2020-07-01 12:35 | 25.3 | 1.045 | 23.8454 | 1.1216 | DI | 61 | 0.3834 | 0.0124 | ppm |  | 0.20703 | -0.013964
67 | 2020-07-01 13:03 | 27.24 | 1.162 | 25.6859 | 1.2503 | DI | 67 | 0.3168 | 0.01903 | ppm |  | 0.14385 | -0.0066727
77 | 2020-07-01 13:21 | 27.03 | 1.568 | 25.4867 | 1.6967 | DI | 70 | 0.4804 | 0.0138 | ppm |  | 0.29906 | -0.012424
79 | 2020-07-01 14:04 | 28.22 | 1.757 | 26.6156 | 1.9046 | DI | 76 | 0.728 | 0.01586 | ppm |  | 0.53395 | -0.010159
83 | 2020-07-01 14:28 | 46.52 | 2.1 | 43.9768 | 2.2818 | DI | 79 | 0.7775 | 0.00148 | ppm |  | 0.58091 | -0.025972
[7 empty] | Mean: | 0.47789 | 0.025694 |  | Mean: | 0.29668 | 0.00065557
[7 empty] | SD: | 0.19467 | 0.026768 |  | SD: | 0.18469 | 0.029437