## 111820 Amanda Salts low
Shimadzu TOC-L Analyzer | [5 empty] | Standard Cal Curve
Samples analyzed: 11/18/20 -11/19/20 | [5 empty] | NPOC
[6 empty] | Measured: | 0.57332 | 8.8872 | 17.9875 | 34.98
[6 empty] | Actual: | 0.3 | 7 | 15 | 30
TN
Standards | [5 empty] | Measured: | 0.018024 | 1.7298 | 3.5382 | 4.1593
NPOC 30 ppm and TN 5 ppm | [5 empty] | Actual: | 0 | 2 | 4 | 5
|  | Machine value | Machine value | Corrected | Corrected |  |  | Machine value | Machine value
|  | NPOC | TN | NPOC | TN |  |  | NPOC | TN |  | Corrected | Corrected
Sample Name | Date / Time | (ppm) | (ppm) | (ppm) | (ppm) | Sample Name | Date / Time | (ppm) | (ppm) |  | Result(NPOC) | Result(TN)
53 | 2020-11-18 13:24 | 10.09 | 0.1802 | 8.2922 | 0.16895 | 150 25 | 2020-11-19 11:38 | 179.7 | 21.32 |  | 155.3271 | 25.1858
54 | 2020-11-18 13:48 | 3.742 | 0.057 | 2.7891 | 0.023154 | 150 25 | 2020-11-19 11:59 | 176.9 | 20.81 |  | 152.8998 | 24.5823
55 | 2020-11-18 14:07 | 10.73 | 0.2317 | 8.847 | 0.22989 |  | Mean: | 178.3 | 21.065 | Mean: | 154.1135 | 24.884
56 | 2020-11-18 14:30 | 4.19 | 0.1015 | 3.1775 | 0.075815 |  | SD: | 1.9799 | 0.36062 | SD: | 1.7164 | 0.42676
57 | 2020-11-18 14:57 | 9.669 | 0.394 | 7.9273 | 0.42196
58 | 2020-11-18 15:34 | 4.229 | 0.1332 | 3.2113 | 0.11333 | 75 12 | 2020-11-19 11:17 | 86.84 | 9.923 |  | 74.8268 | 11.6986
59 | 2020-11-18 15:58 | 14.82 | 0.3752 | 12.3927 | 0.39971 | 75 12 | 2020-11-19 12:44 | 86.61 | 10.06 |  | 74.6274 | 11.8607
60 | 2020-11-18 16:21 | 2.931 | 0.1414 | 2.0861 | 0.12303 |  | Mean: | 86.725 | 9.9915 | Mean: | 74.7271 | 11.7796
61 | 2020-11-18 16:36 | 5.942 | 0.1388 | 4.6963 | 0.11996 |  | SD: | 0.16263 | 0.096874 | SD: | 0.14099 | 0.11464
62 | 2020-11-18 16:57 | 2.028 | 0.06333 | 1.3033 | 0.030645
63 | 2020-11-18 19:04 | 7.438 | 0.2577 | 5.9932 | 0.26066 | 30 5 | 2020-11-19 00:01 | 35.11 | 4.433 |  | 29.9821 | 5.2017
64 | 2020-11-18 19:20 | 2.014 | 0.05334 | 1.2911 | 0.018823 | 30 5 | 2020-11-19 05:36 | 35.29 | 4.361 |  | 30.1381 | 5.1165
65 | 2020-11-18 19:49 | 106.9 | 10.65 | 92.2168 | 12.5589 | 30 5 | 2020-11-18 12:22 | 34.34 | 3.322 |  | 29.3145 | 3.887
66 | 2020-11-18 20:07 | 57.66 | 2.708 | 49.5307 | 3.1603 | 30 5 | 2020-11-18 18:21 | 35.18 | 4.521 |  | 30.0427 | 5.3059
67 | 2020-11-18 20:27 | 113.2 | 10.57 | 97.6783 | 12.4642 |  | Mean: | 34.98 | 4.1593 | Mean: | 29.8694 | 4.8778
68 | 2020-11-18 21:03 | 52.55 | 2.67 | 45.1008 | 3.1154 |  | SD: | 0.43305 | 0.56199 | SD: | 0.37541 | 0.66506
69 | 2020-11-18 21:28 | 35.71 | 0.96 | 30.5022 | 1.0918
70 | 2020-11-18 21:51 | 19.99 | 0.417 | 16.8745 | 0.44918 | 15 4 | 2020-11-18 11:55 | 17.52 | 3.017 |  | 14.7333 | 3.526
71 | 2020-11-18 22:12 | 34.04 | 0.9358 | 29.0545 | 1.0631 | 15 4 | 2020-11-18 18:03 | 18.05 | 3.786 |  | 15.1927 | 4.4361
72 | 2020-11-18 22:37 | 20.78 | 0.3858 | 17.5594 | 0.41226 | 15 4 | 2020-11-18 23:39 | 18.4 | 3.743 |  | 15.4962 | 4.3852
73 | 2020-11-19 00:40 | 5.681 | 0.3447 | 4.4701 | 0.36362 | 15 4 | 2020-11-19 05:10 | 17.98 | 3.607 |  | 15.1321 | 4.2242
74 | 2020-11-19 01:02 | 2.272 | 0.09868 | 1.5148 | 0.072478 |  | Mean: | 17.9875 | 3.5382 | Mean: | 15.1386 | 4.1429
75 | 2020-11-19 01:26 | 5.782 | 0.2977 | 4.5576 | 0.308 |  | SD: | 0.36179 | 0.35578 | SD: | 0.31364 | 0.42103
76 | 2020-11-19 01:47 | 1.965 | 0.07995 | 1.2487 | 0.050313
77 | 2020-11-19 02:07 | 14.93 | 0.3978 | 12.488 | 0.42646 | 7 2 | 2020-11-18 11:31 | 8.555 | 1.546 |  | 6.9615 | 1.7852
78 | 2020-11-19 02:37 | 8.572 | 0.1913 | 6.9763 | 0.18208 | 7 2 | 2020-11-18 17:44 | 8.686 | 1.807 |  | 7.0751 | 2.0941
79 | 2020-11-19 03:02 | 15.73 | 0.4704 | 13.1815 | 0.51237 | 7 2 | 2020-11-18 23:20 | 9.273 | 1.796 |  | 7.584 | 2.0811
80 | 2020-11-19 03:26 | 8.127 | 0.2031 | 6.5905 | 0.19605 | 7 2 | 2020-11-19 04:48 | 9.035 | 1.77 |  | 7.3776 | 2.0503
81 | 2020-11-19 03:51 | 11.95 | 0.4528 | 9.9047 | 0.49154 |  | Mean: | 8.8872 | 1.7298 | Mean: | 7.2496 | 2.0027
82 | 2020-11-19 04:13 | 5.053 | 0.1202 | 3.9256 | 0.097945 |  | SD: | 0.32738 | 0.12348 | SD: | 0.2838 | 0.14612
83 | 2020-11-19 06:18 | 11.54 | 0.4202 | 9.5492 | 0.45296
84 | 2020-11-19 06:40 | 6.643 | 0.1337 | 5.304 | 0.11392 | DI | 2020-11-18 11:14 | 0.6023 | 0.04935 |  | 0.067334 | 0.014101
85 | 2020-11-19 07:03 | 2.309 | 0.1096 | 1.5469 | 0.085401 | DI | 2020-11-18 13:02 | 0.2138 | 0.01099 |  | -0.26946 | -0.031294
86 | 2020-11-19 07:26 | 1.557 | 0.01506 | 0.89496 | -0.026478 | DI | 2020-11-18 15:10 | 0.3476 | 0.01666 |  | -0.15347 | -0.024585
87 | 2020-11-19 07:43 | 2.146 | 0.04579 | 1.4056 | 0.0098879 | DI | 2020-11-18 17:17 | 0.444 | 0.0146 |  | -0.069896 | -0.027022
88 | 2020-11-19 08:21 | 1.366 | 0.03387 | 0.72939 | -0.0042182 | DI | 2020-11-18 18:40 | 0.4574 | 0.00261 |  | -0.05828 | -0.041211
89 | 2020-11-19 08:47 | 93.17 | 1.689 | 80.3143 | 1.9545 | DI | 2020-11-18 20:45 | 0.6863 | 0.03176 |  | 0.14015 | -0.0067152
90 | 2020-11-19 09:12 | 38.72 | 0.6514 | 33.1116 | 0.72657 | DI | 2020-11-18 22:55 | 0.6208 | 0.0131 |  | 0.083372 | -0.028797
91 | 2020-11-19 09:40 | 99.27 | 1.806 | 85.6024 | 2.0929 | DI | 2020-11-19 00:16 | 0.5614 | 0.02551 |  | 0.031878 | -0.014111
92 | 2020-11-19 10:04 | 41.59 | 0.6199 | 35.5996 | 0.68929 | DI | 2020-11-19 02:22 | 0.6239 | 0.02471 |  | 0.086059 | -0.015058
[6 empty] | DI | 2020-11-19 04:30 | 0.7944 | 0.00901 |  | 0.23387 | -0.033638
[6 empty] | DI | 2020-11-19 05:55 | 0.8221 | 0.01299 |  | 0.25788 | -0.028928
[6 empty] | DI | 2020-11-19 08:00 | 0.7059 | 0.005 |  | 0.15714 | -0.038383
[7 empty] | Mean: | 0.57332 | 0.018024 | Mean: | 0.042215 | -0.02297
Standards | [6 empty] | SD: | 0.18022 | 0.013045 | SD: | 0.15623 | 0.015437
NPOC 150 ppm and TN 25 ppm
|  | Machine value | Machine value | Corrected | Corrected |  |  | Machine value | Machine value |  | Corrected | Corrected | Standard Cal Curve
|  | NPOC | TN | NPOC | TN |  |  | NPOC | TN |  | NPOC | TN | NPOC
Sample Name | Date / Time | (ppm) | (ppm) | (ppm) | (ppm) | Sample Name | Date / Time | (ppm) | (ppm) |  | (ppm) | (ppm) | Measured: | 0.59537 | 7.1835 | 14.54 | 28.275 | 70.105 | 144.15
53 | 2020-11-18 13:24 | 8.156 | 0.2358 | 8.5816 | 0.17575 | 150 25 | 2020-11-19 11:38 | 145.3 | 27.91 |  | 152.0205 | 25.3565 | Actual: | 0.3 | 7 | 15 | 30 | 75 | 150
54 | 2020-11-18 13:48 | 3.025 | 0.0746 | 3.215 | 0.029079 | 150 25 | 2020-11-19 11:59 | 143 | 27.24 |  | 152.0205 | 25.3565 | TN
55 | 2020-11-18 14:07 | 8.671 | 0.3033 | 9.1202 | 0.23717 |  | Mean: | 144.15 | 27.575 | Mean: | 152.0205 | 25.3565 | Measured: | 0.01692 | 2.2643 | 4.6315 | 5.4443 | 13.075 | 27.575
56 | 2020-11-18 14:30 | 3.387 | 0.1329 | 3.5937 | 0.082126 |  | SD: | 1.6263 | 0.47376 | SD: | 0 | 0 | Actual: | 0 | 2 | 4 | 5 | 12 | 25
57 | 2020-11-18 14:57 | 7.815 | 0.5158 | 8.2249 | 0.43053
58 | 2020-11-18 15:34 | 3.418 | 0.1744 | 3.6261 | 0.11989 | 75 12 | 2020-11-19 11:17 | 70.2 | 12.99 |  | 73.4734 | 11.7808
59 | 2020-11-18 15:58 | 11.98 | 0.4911 | 12.5811 | 0.40805 | 75 12 | 2020-11-19 12:44 | 70.01 | 13.16 |  | 73.2747 | 11.9355
60 | 2020-11-18 16:21 | 2.369 | 0.1851 | 2.5289 | 0.12962 |  | Mean: | 70.105 | 13.075 | Mean: | 73.374 | 11.8581
61 | 2020-11-18 16:36 | 4.803 | 0.1817 | 5.0747 | 0.12653 |  | SD: | 0.13435 | 0.12021 | SD: | 0.14052 | 0.10938
62 | 2020-11-18 16:57 | 1.639 | 0.0829 | 1.7654 | 0.036631
63 | 2020-11-18 19:04 | 6.012 | 0.3374 | 6.3392 | 0.2682 | 30 5 | 2020-11-18 18:21 | 28.44 | 5.918 |  | 29.7966 | 5.346
64 | 2020-11-18 19:20 | 1.628 | 0.06982 | 1.7539 | 0.024729 | 30 5 | 2020-11-19 00:01 | 28.38 | 5.803 |  | 29.7338 | 5.2413
65 | 2020-11-18 19:49 | 86.39 | 13.94 | 90.4065 | 12.6452 | 30 5 | 2020-11-19 05:36 | 28.52 | 5.708 |  | 29.8803 | 5.1549
66 | 2020-11-18 20:07 | 46.61 | 3.545 | 48.8006 | 3.1868 | 30 5 | 2020-11-18 12:22 | 27.76 | 4.348 |  | 29.0854 | 3.9174
67 | 2020-11-18 20:27 | 91.49 | 13.84 | 95.7406 | 12.5542 |  | Mean: | 28.275 | 5.4443 | Mean: | 29.624 | 4.9149
68 | 2020-11-18 21:03 | 42.48 | 3.495 | 44.481 | 3.1413 |  | SD: | 0.34809 | 0.73586 | SD: | 0.36407 | 0.66956
69 | 2020-11-18 21:28 | 28.87 | 1.257 | 30.2463 | 1.1049
70 | 2020-11-18 21:51 | 16.16 | 0.5458 | 16.9529 | 0.45782 | 15 4 | 2020-11-18 11:55 | 14.16 | 3.95 |  | 14.8611 | 3.5553
71 | 2020-11-18 22:12 | 27.51 | 1.225 | 28.8239 | 1.0758 | 15 4 | 2020-11-18 18:03 | 14.59 | 4.956 |  | 15.3109 | 4.4707
72 | 2020-11-18 22:37 | 16.8 | 0.505 | 17.6223 | 0.4207 | 15 4 | 2020-11-18 23:39 | 14.87 | 4.899 |  | 15.6037 | 4.4188
73 | 2020-11-19 00:40 | 4.592 | 0.4512 | 4.854 | 0.37175 | 15 4 | 2020-11-19 05:10 | 14.54 | 4.721 |  | 15.2586 | 4.2568
74 | 2020-11-19 01:02 | 1.836 | 0.1292 | 1.9715 | 0.078759 |  | Mean: | 14.54 | 4.6315 | Mean: | 15.2586 | 4.1754
75 | 2020-11-19 01:26 | 4.673 | 0.3897 | 4.9387 | 0.31579 |  | SD: | 0.292 | 0.46523 | SD: | 0.30541 | 0.42331
76 | 2020-11-19 01:47 | 1.588 | 0.1046 | 1.7121 | 0.056376
77 | 2020-11-19 02:07 | 12.07 | 0.5207 | 12.6752 | 0.43498 | 7 2 | 2020-11-18 11:31 | 6.915 | 2.024 |  | 7.2836 | 1.8028
78 | 2020-11-19 02:37 | 6.929 | 0.2504 | 7.2982 | 0.18904 | 7 2 | 2020-11-18 17:44 | 7.021 | 2.366 |  | 7.3945 | 2.114
79 | 2020-11-19 03:02 | 12.71 | 0.6158 | 13.3446 | 0.52152 | 7 2 | 2020-11-18 23:20 | 7.495 | 2.35 |  | 7.8902 | 2.0995
80 | 2020-11-19 03:26 | 6.569 | 0.2658 | 6.9217 | 0.20305 | 7 2 | 2020-11-19 04:48 | 7.303 | 2.317 |  | 7.6894 | 2.0694
81 | 2020-11-19 03:51 | 9.663 | 0.5927 | 10.1577 | 0.5005 |  | Mean: | 7.1835 | 2.2643 | Mean: | 7.5644 | 2.0214
82 | 2020-11-19 04:13 | 4.084 | 0.1574 | 4.3227 | 0.10442 |  | SD: | 0.26446 | 0.16146 | SD: | 0.27659 | 0.14691
83 | 2020-11-19 06:18 | 9.328 | 0.55 | 9.8074 | 0.46165
84 | 2020-11-19 06:40 | 5.369 | 0.175 | 5.6666 | 0.12043 | DI | 2020-11-18 11:14 | 0.4869 | 0.0646 |  | 0.56045 | 0.01998
85 | 2020-11-19 07:03 | 1.866 | 0.1435 | 2.0028 | 0.091771 | DI | 2020-11-18 13:02 | 0.1728 | 0.01438 |  | 0.23193 | -0.025716
86 | 2020-11-19 07:26 | 1.259 | 0.01971 | 1.368 | -0.020866 | DI | 2020-11-18 15:10 | 0.2809 | 0.02181 |  | 0.34499 | -0.018955
87 | 2020-11-19 07:43 | 1.734 | 0.05993 | 1.8648 | 0.01573 | DI | 2020-11-18 17:17 | 0.3589 | 0.01911 |  | 0.42657 | -0.021412
88 | 2020-11-19 08:21 | 1.104 | 0.04434 | 1.2059 | 0.001545 | DI | 2020-11-18 18:40 | 0.3697 | 0.00342 |  | 0.43787 | -0.035688
89 | 2020-11-19 08:47 | 75.31 | 2.211 | 78.8179 | 1.973 | DI | 2020-11-18 20:45 | 0.5547 | 0.04157 |  | 0.63136 | -0.00097546
90 | 2020-11-19 09:12 | 31.3 | 0.8526 | 32.7879 | 0.73698 | DI | 2020-11-18 22:55 | 0.5018 | 0.01715 |  | 0.57603 | -0.023195
91 | 2020-11-19 09:40 | 80.24 | 2.365 | 83.9742 | 2.1131 | DI | 2020-11-19 00:16 | 0.4538 | 0.03339 |  | 0.52583 | -0.0084184
92 | 2020-11-19 10:04 | 33.61 | 0.8114 | 35.2039 | 0.69949 | DI | 2020-11-19 02:22 | 0.5043 | 0.03234 |  | 0.57865 | -0.0093738
[6 empty] | DI | 2020-11-19 04:30 | 0.6421 | 0.0118 |  | 0.72277 | -0.028063
[6 empty] | DI | 2020-11-19 05:55 | 0.6645 | 0.017 |  | 0.7462 | -0.023332
[6 empty] | DI | 2020-11-19 08:00 | 0.5706 | 0.00654 |  | 0.64799 | -0.032849
[7 empty] | Mean: | 0.59537 | 0.01692 | Mean: | 0.6739 | -0.023404
[7 empty] | SD: | 0.072732 | 0.011132 | SD: | 0.076071 | 0.010129